| QA/QC Compendium Review | Yes | No | N/A | Location Reference | Comments |
| --- | --- | --- | --- | --- | --- |
| PLANNING |  |  |  |  |  |
| P1. Requirement for a Systematic Planning Process (e.g., establishment of Project Quality Objectives [PQOs], Measurement Quality Objectives [MQOs]) |  |  |  |  |  |
| P2. Requirement for a Pre-QAPP Coordination with all Stakeholders (e.g., planning or, scoping session) |  |  |  |  |  |
| P3. Requirement for a Sampling Design Rationale (including both rationale for sampling locations and techniques) |  |  |  |  |  |
| P4. Requirement for a Quality Assurance Project Plan (QAPP). Can be found in other documents (e.g. O&M plan, treatability plan). It does not need to be a stand-alone document. |  |  |  |  |  |
| P5. Requirement for internal QAPP review and approval procedures |  |  |  |  |  |
| P6. Requirement for QAPP modifications and/or change-control procedures Applies to stand-alone QAPPs and those that are part of larger documents. |  |  |  |  |  |
| P7. Documented Schedule and Budget |  |  |  |  |  |
| P8. Documented Project Personnel Training, Education, and Experience Criteria and Standard Operating Procedures (SOPs) for verifying qualifications (Includes identification of all project-specific appropriate Quality Assurance [QA] Personnel, including QA Officer) |  |  |  |  |  |
| FIELD SAMPLING |  |  |  |  |  |
| S1. Requirement for inspection and acceptance of supplies |  |  |  |  |  |
| S2. Criteria for field sampling supplies, preservation, and sample container quality control (including verification SOPs) |  |  |  |  |  |
| S3. Description of equipment/instrumentation and personnel qualifications |  |  |  |  |  |
| S4. Criteria for acceptable field sampling equipment performance |  |  |  |  |  |
| S5. Requirement for maintenance and verification of ongoing acceptable field sampling equipment performance (including SOPs, e.g., verification of testing, inspection, calibration) |  |  |  |  |  |
| S6. Criteria for cleaning and decontamination of field sampling equipment (including SOPs) |  |  |  |  |  |
| S7. Requirement for project-specific field sampling performance criteria |  |  |  |  |  |
| S8. Requirement for documentation and record keeping (e.g., Field logbooks) |  |  |  |  |  |
| S9. Procedures (e.g., SOPs, workplan) for field sampling management (Documentation to answer “Is the sample traceable?”, e.g., sample location, transport, storage, and shipping procedures) |  |  |  |  |  |
| S10. Procedures (e.g., SOPs, workplan) for field sample collection (Documentation to answer "Was the sample collected properly?", e.g., sample collection methods) |  |  |  |  |  |
| S11. Documentation of data management, handling, and tracking controls |  |  |  |  |  |
| S12. Requirement for Collocated Field duplicate samples (including acceptance criteria) |  |  |  |  |  |
| S13. Requirement for Field blanks (for dedicated and non-dedicated equipment) |  |  |  |  |  |
| S14. Requirement for Field equipment or rinse blanks (for non-dedicated equipment) |  |  |  |  |  |
| S15. Requirement for Cooler Temperature Indicator (**Perform as necessary**) |  |  |  |  |  |
| S16. Requirement for Matrix spike (MS) (inorganics only) (including acceptance criteria) |  |  |  |  |  |
| S17. Requirement for Internal Pre-startup readiness review |  |  |  |  |  |
| S18. Requirement for Internal field sampling audits and/or oversight |  |  |  |  |  |
| S19. Requirement for External field sampling audits and/or oversight |  |  |  |  |  |
| S20. Requirement for Positive Control Sample, if required by measurement criteria |  |  |  |  |  |
| ON-SITE FIELD MEASUREMENTS |  |  |  |  |  |
| F1. Requirement for inspection and acceptance of supplies |  |  |  |  |  |
| F2. Criteria for field supplies, calibration standards, and sample container quality control |  |  |  |  |  |
| F3. Descriptions of equipment/instrumentation and personnel qualifications |  |  |  |  |  |
| F4. Criteria for acceptable field measurement/analysis equipment/instrument performance |  |  |  |  |  |
| F5. Requirement for maintenance/verification of field measurement/analysis equipment performance |  |  |  |  |  |
| F6. Criteria for cleaning and decontamination of field measurement/analysis equipment |  |  |  |  |  |
| F7. Requirement for project-specific measurement/analysis performance criteria |  |  |  |  |  |
| F8. Documentation of measurement/analysis quality system |  |  |  |  |  |
| F9. Requirement for documentation and record keeping (e.g., analyst logs, field logs) |  |  |  |  |  |
| F10. Procedures (e.g., SOPs, workplan) related to sample management (Documentation to answer "Is the measurement traceable?") |  |  |  |  |  |
| F11. Procedures (e.g., SOPs, workplan) related to sample measurement/analysis (including preparation and cleanup) |  |  |  |  |  |
| F12. Description of data deliverables/data package content, generation, and data review procedures |  |  |  |  |  |
| F13. Documentation of data management, handling, and tracking controls |  |  |  |  |  |
| F14. Requirement for Laboratory Duplicate samples to measure intralaboratory precision |  |  |  |  |  |
| F15. Requirement for Matrix Spike (MS) (inorganics only) |  |  |  |  |  |
| F16. Comparability criteria for confirmatory analyses (compare screening and definitive data) |  |  |  |  |  |
| F17. Requirement for Confirmatory Analyses |  |  |  |  |  |
| F18. Requirement for Proficiency Testing samples - Batch-Specific |  |  |  |  |  |
| F19. Requirement for pre-startup measurement/ analysis readiness review |  |  |  |  |  |
| F20. Requirement for internal measurement/analysis audits and/or oversight |  |  |  |  |  |
| F21. Requirement for external measurement/analysis audits and/or oversight |  |  |  |  |  |
| F22. Requirement for Positive Control Sample, if required by measurement criteria |  |  |  |  |  |
| OFF-SITE/FIXED LAB MEASUREMENTS |  |  |  |  |  |
| L1. Requirement for inspection and acceptance of supplies |  |  |  |  |  |
| L2. Criteria for supplies, calibration standards, and sample container quality control (including verification SOPs) |  |  |  |  |  |
| L3. Descriptions of equipment/instrumentation and personnel requirements |  |  |  |  |  |
| L4. Criteria for acceptable laboratory equipment/ instrument performance |  |  |  |  |  |
| L5. Requirement for maintenance and verification of ongoing acceptable laboratory equipment/instrument performance (including SOPs) |  |  |  |  |  |
| L6. Criteria for cleaning and decontamination of equipment and instruments (including SOPs) |  |  |  |  |  |
| L7. Requirement for project-specific measurement/ analysis performance criteria |  |  |  |  |  |
| L8. Documentation of a laboratory quality system (e.g., Laboratory QA Manual) |  |  |  |  |  |
| L9. Requirement for documentation and record keeping (e.g., analyst logs) |  |  |  |  |  |
| L10. Procedures (e.g., SOPs, workplan) related to laboratory sample management (Documentation to answer "Is measurement traceable?") |  |  |  |  |  |
| L11. Procedures (e.g., SOPs, workplan) related to sample analysis, including preparation and cleanup (Documentation to answer “Was the measurement in control?”) |  |  |  |  |  |
| L12. Description of data deliverables/data package content, generation, and data review procedures |  |  |  |  |  |
| L13. Documentation of data management, handling, and tracking controls |  |  |  |  |  |
| L14. Requirement for Laboratory Duplicate samples (including acceptance criteria) |  |  |  |  |  |
| L15. Requirement for Matrix Spike (MS) (inorganics only) (including acceptance criteria) |  |  |  |  |  |
| L16. Comparability criteria for confirmatory analyses (Includes comparisons between screening and definitive data and/or two definitive methods – reflected through separate columns of the matrix) |  |  |  |  |  |
| L17. Requirement for Confirmatory Analyses |  |  |  |  |  |
| L18. Requirement for Proficiency Testing samples – Pre-qualification (including acceptance criteria) |  |  |  |  |  |
| L19. Requirement for Proficiency Testing samples – Batch-specific (including acceptance criteria) |  |  |  |  |  |
| L20. Requirement for Pre-startup laboratory audits/ readiness reviews |  |  |  |  |  |
| L21. Requirement for Internal laboratory audits and/or oversight |  |  |  |  |  |
| L22. Requirement for External laboratory audits and/or oversight |  |  |  |  |  |
| L23. Requirement for Positive Control Sample, if required by measurement criteria |  |  |  |  |  |
| DATA REVIEW |  |  |  |  |  |
| D1. Laboratory internal data review SOPs |  |  |  |  |  |
| D2. Laboratory data deliverable requirements (specifications for hard copy and/or electronic data deliverables) Tabular sample results with QC results |  |  |  |  |  |
| D3. Laboratory data deliverable requirements (specifications for hard copy and/or electronic data deliverables) Tabular sample results, QC results, and raw data |  |  |  |  |  |
| D4. Requirement for internal laboratory verification of meeting data deliverable requirements and project-specific MQO requirements |  |  |  |  |  |
| D5. Requirement for verification (completeness review) of sampling and analytical data, and other data deliverables. |  |  |  |  |  |
| D6. Requirement for review of findings from verification and preparation of report |  |  |  |  |  |
| D7. Requirement for validation (assessment of sampling and analytical data against technical requirements) |  |  |  |  |  |
| D8. Criteria for validation |  |  |  |  |  |
| D9. Requirement for documentation of results of validation (e.g., exceedances and exceptions) |  |  |  |  |  |
| D10. Requirement for (regulatory) review of data assessment report |  |  |  |  |  |
| D11. Requirement to reconvene project team (see P2) to perform usability assessment |  |  |  |  |  |
| D12. Requirement for usability assessment and documentation of results by project team |  |  |  |  |  |
| D13. Requirement for preparation and review of final usability report |  |  |  |  |  |